Water Quality Management Plan (WQMP)

INSERT Project Name

WQ XX-XXXX
Priority Project
Water Quality Management Plan 

(WQMP)

Project Name:

Insert Project Name
Insert Grading Permit No., Building Permit No., or Planning Application No.,  Project Site Address, Tract/Lot Number(s), and  APN
Prepared for:

Insert Owner/Developer Name
Insert Street Address
Insert City, State, ZIP
Insert Telephone
Prepared by:

Insert Preparer Name/Consulting/Engineering Firm Name
Insert Street Address
Insert City, State, ZIP
Insert Telephone and Email address
Please place preparer's stamp here
Insert Date Prepared/Revised (include all previous dates)
	Project Owner’s Certification

	Planning Application No. (If applicable)
	     
	Grading Permit No.
	

	Tract/Parcel Map and Lot(s) No.      
	     
	Building Permit No.
	

	Address of Project Site and APN

 (If no address, specify Tract/Parcel Map and Lot Numbers) 
	


This Water Quality Management Plan (WQMP) has been prepared for Owner/Developer Name by Consulting/Engineering Firm Name.  The WQMP is intended to comply with the requirements of the County of Orange NPDES Stormwater Program requiring the preparation of the plan.

The undersigned, while it owns the subject property, is responsible for the implementation of the provisions of this plan , including the ongoing operation and maintenance of all best management practices (BMPs), and will ensure that this plan is amended as appropriate to reflect up-to-date conditions on the site consistent with the current Orange County Drainage Area Management Plan (DAMP) and the intent of the non-point source NPDES Permit for Waste Discharge Requirements for the County of Orange, Orange County Flood Control District and the incorporated Cities of Orange County within the Santa Ana Region.  Once the undersigned transfers its interest in the property, its successors-in-interest shall bear the aforementioned responsibility to implement and amend the WQMP.  An appropriate number of approved and signed copies of this document shall be available on the subject site in perpetuity.
	Owner:

	Title
	     

	Company
	     

	Address
	     

	Email
	     

	Telephone #
	     

	I understand my responsibility to implement the provisions of this WQMP including the ongoing operation and maintenance of the best management practices (BMPs) described herein. 

	

	Owner Signature
	     
	Date
	     


	Preparer (Engineer):

	Title
	     
	PE Registration #
	     

	Company
	     

	Address
	     

	Email
	     

	Telephone #
	     

	I hereby certify that this Water Quality Management Plan is in compliance with, and meets the requirements set forth in, Order No. R8-2009-0030/NPDES No. CAS618030, of the Santa Ana Regional Water Quality Control Board.

	Preparer Signature
	     
	Date
	     

	Place

Stamp 

Here 
	


Contents









Page No.
Section I 
Permit(s) and Water Quality Conditions of Approval or Issuance
1
Section II
Project Description
3
Section III
Site Description
8
Section IV
Best Management Practices (BMPs)
10

Section V
Inspection/Maintenance Responsibility for BMPs
24

Section VI
BMP Exhibit (Site Plan)
25

Section VII
Educational Materials
26
Attachments

Attachment A

Educational Materials
Section I
Permit(s) and Water Quality Conditions of Approval or 
Issuance
Provide discretionary or grading/building permit information and water quality conditions of approval, or permit issuance, applied to the project.  If conditions are unknown, please request applicable conditions from staff.  Refer to Section 2.1 in the Technical Guidance Document (TGD) available on the OC Planning website (ocplanning.net).

	Project Infomation

	Permit/Application No. (If applicable)
	     
	Grading or Building Permit No. 

(If applicable)
	     

	Address of Project Site (or Tract Map and Lot Number if no address) and APN
	     

	

	Water Quality Conditions of Approval or Issuance

	Water Quality Conditions of Approval or Issuance applied to this project.   

(Please list verbatim.)
	

	

	Conceptual WQMP

	Was a Conceptual Water Quality Management Plan previously approved for this project?
	

	

	Watershed-Based Plan Conditions

	Provide applicable conditions from watershed - based plans including WIHMPs and TMDLS.
	


Section II
Project Description

II.1
Project Description

Provide a detailed project description including:  

· Project areas; 

· Land uses; 

· Land cover; 

· Design elements;

· A general description not broken down by drainage management areas (DMAs). 

Include attributes relevant to determining applicable source controls.  Refer to Section 2.2 in the Technical Guidance Document (TGD) for information that must be included in the project description. 
	Description of Proposed Project 

	Development Category (From Model WQMP, Table 7.11-2; or -3):
	

	Project Area (ft2):  _______ 
	Number of Dwelling Units:  ___________
	SIC Code:  __________

	Project Area
	Pervious
	Impervious

	
	Area 

(acres or sq ft)
	Percentage
	Area

(acres or sq ft)
	Percentage

	Pre-Project Conditions
	
	
	
	

	Post-Project Conditions
	
	
	
	

	Drainage Patterns/Connections
	

	Narrative Project Description:

(Use as much space as necessary.)
	


II.2
Potential Stormwater Pollutants

Determine and list expected stormwater pollutants based on land uses and site activities. Refer to Section 2.2.2 and Table 2.1 in the Technical Guidance Document (TGD) for guidance.
	Pollutants of Concern

	Pollutant
	Check One for each: E=Expected to be of concern 

N=Not Expected to be of concern
	Additional Information and Comments

	Suspended-Solid/ Sediment
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Nutrients
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Heavy Metals
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Pathogens (Bacteria/Virus)
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Pesticides
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Oil and Grease
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Toxic Organic Compounds
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Trash and Debris
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     


II.3
Hydrologic Conditions of Concern

Determine if streams located downstream from the project area are potentially susceptible to hydromodification impacts. Refer to Section 2.2.3.1 in the Technical Guidance Document (TGD) for North Orange County or Section 2.2.3.2 for South Orange County.
 FORMCHECKBOX 
 No – Show map
 FORMCHECKBOX 
 Yes – Describe applicable hydrologic conditions of concern below. Refer to Section 2.2.3 in the Technical Guidance Document (TGD).
	


II.4
Post Development Drainage Characteristics

Describe post development drainage characteristics. Refer to Section 2.2.4 in the Technical Guidance Document (TGD).
	


II.5
Property Ownership/Management

Describe property ownership/management. Refer to Section 2.2.5 in the Technical Guidance Document (TGD).

	


Section III
Site Description

III.1
Physical Setting

Fill out table with relevant information. Refer to Section 2.3.1 in the Technical Guidance Document (TGD).
	Name of Planned Community/Planning Area (if applicable)
	     

	Location/Address
	     

	
	     

	General Plan Land Use Designation
	     

	Zoning
	     

	Acreage of Project  Site
	     

	Predominant Soil Type
	     


III.2
Site Characteristics

Fill out table with relevant information and include information regarding BMP sizing, suitability, and feasibility, as applicable. Refer to Section 2.3.2 in the Technical Guidance Document (TGD).

	Site Characteristics

	Precipitation Zone
	     

	Topography
	     

	Drainage Patterns/Connections
	     

	Soil Type, Geology, and Infiltration Properties
	     

	Hydrogeologic (Groundwater) Conditions
	

	Geotechnical Conditions (relevant to infiltration)
	

	Off-Site Drainage
	

	Utility and Infrastructure Information
	


III.3
Watershed Description

Fill out table with relevant information and include information regarding BMP sizing, suitability, and feasibility, as applicable. Refer to Section 2.3.3 in the Technical Guidance Document (TGD).
	Receiving Waters
	

	303(d) Listed Impairments
	

	Applicable TMDLs
	

	Pollutants of Concern for the Project
	

	Environmentally Sensitive and Special Biological Significant Areas
	


Section IV
Best Management Practices (BMPs)

IV. 1
Project Performance Criteria

Describe project performance criteria. Several steps must be followed in order to determine what performance criteria will apply to a project. These steps include:
· If the project has an approved WIHMP or equivalent, then any watershed specific criteria must be used and the project can evaluate participation in the approved regional or sub-regional opportunities.  (Please ask your assigned planner or plan checker regarding whether your project is part of an approved WIHMP or equivalent.)
· Determine applicable hydromodification control performance criteria. Refer to Section 7.II-2.4.2.2 of the Model WQMP.
· Determine applicable LID performance criteria. Refer to Section 7.II-2.4.3 of the Model WQMP.
· Determine applicable treatment control BMP performance criteria. Refer to Section 7.II-3.2.2 of the Model WQMP.
· Calculate the LID design storm capture volume for the project. Refer to Section 7.II-2.4.3 of the Model WQMP.
	(NOC Permit Area only) Is there an approved WIHMP or equivalent for the project area that includes more stringent LID feasibility criteria or if there are opportunities identified for implementing LID on regional or sub-regional basis?
	YES  FORMCHECKBOX 

	NO  FORMCHECKBOX 


	If yes, describe WIHMP feasibility criteria or regional/sub-regional LID opportunities.
	     


	Project Performance Criteria

	If HCOC exists, list applicable hydromodification control performance criteria (Section 7.II-2.4.2.2 in MWQMP)
	

	List applicable LID performance criteria (Section 7.II-2.4.3 from MWQMP)
	

	List applicable treatment control BMP performance criteria (Section 7.II-3.2.2 from MWQMP) 
	

	Calculate LID design storm capture volume for Project.
	


IV.2.
Site Design and Drainage 
Describe site design and drainage including
· A narrative of site design practices utilized or rationale for not using practices; 

· A narrative of how site is designed to allow BMPs to be incorporated to the MEP
· A table of DMA characteristics and list of LID BMPs proposed in each DMA.
· Reference to the WQMP “BMP Exhibit.” 
· Calculation of Design Capture Volume (DCV) for each drainage area.

· A listing of GIS coordinates for LID and Treatment Control BMPs.

Refer to Section 2.4.2 in the Technical Guidance Document (TGD).
	


IV.3
LID BMP Selection and Project Conformance Analysis
Each sub-section below documents that the proposed design features conform to the applicable project performance criteria via check boxes, tables, calculations, narratives, and/or references to worksheets.  Refer to Section 2.4.2.3 in the Technical Guidance Document (TGD) for  selecting LID BMPs and Section 2.4.3 in the Technical Guidance Document (TGD) for conducting conformance analysis with project performance criteria.
IV.3.1
Hydrologic Source Controls (HSCs)
If required HSCs are included, fill out applicable check box forms.  If the retention criteria are otherwise met with other LID BMPs, include a statement indicating HSCs not required.
	Name
	Included?

	Localized on-lot infiltration
	 FORMCHECKBOX 


	Impervious area dispersion (e.g. roof top disconnection)
	 FORMCHECKBOX 


	Street trees (canopy interception)
	 FORMCHECKBOX 


	Residential rain barrels (not actively managed)
	 FORMCHECKBOX 


	Green roofs/Brown roofs
	 FORMCHECKBOX 


	Blue roofs
	 FORMCHECKBOX 


	Impervious area reduction (e.g. permeable pavers, site design)
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



IV.3.2
Infiltration BMPs

Identify infiltration BMPs to be used in project.  If design volume cannot be met, state why.

	Name
	Included?

	Bioretention without underdrains
	 FORMCHECKBOX 


	Rain gardens
	 FORMCHECKBOX 


	Porous landscaping
	 FORMCHECKBOX 


	Infiltration planters
	 FORMCHECKBOX 


	Retention swales
	 FORMCHECKBOX 


	Infiltration trenches
	 FORMCHECKBOX 


	Infiltration basins
	 FORMCHECKBOX 


	Drywells
	 FORMCHECKBOX 


	Subsurface infiltration galleries
	 FORMCHECKBOX 


	French drains
	 FORMCHECKBOX 


	Permeable asphalt
	 FORMCHECKBOX 


	Permeable concrete
	 FORMCHECKBOX 


	Permeable concrete pavers
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



Show calculations below to demonstrate if the LID Design Strom Capture Volume can be met with infiltration BMPs.  If not, document how much can be met with infiltration and document why it is not feasible to meet the full volume with infiltration BMPs.

	


IV.3.3
Evapotranspiration, Rainwater Harvesting BMPs

If the full Design Storm Capture Volume cannot be met with infiltration BMPs, describe any evapotranspiration and/or rainwater harvesting BMPs included. 
	Name
	Included?

	All HSCs; See Section IV.3.1
	 FORMCHECKBOX 


	Surface-based infiltration BMPs
	 FORMCHECKBOX 


	Biotreatment BMPs
	 FORMCHECKBOX 


	Above-ground cisterns and basins
	 FORMCHECKBOX 


	Underground detention
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



Show calculations below to demonstrate if the LID Design Storm Capture Volume can be met with evapotranspiration and/or rainwater harvesting BMPs in combination with infiltration BMPs.  If not, document below how much can be met with either infiltration BMPs, evapotranspiration, rainwater harvesting BMPs, or a combination, and document why it is not feasible to meet the full volume with these BMP categories.
	


IV.3.4
Biotreatment BMPs

If the full Design Storm Capture Volume cannot be met with infiltration BMPs, and/or evapotranspiration and rainwater harvesting BMPs, describe biotreatment BMPs included. Include sections for selection, suitability, sizing, and infeasibility, as applicable.

	Name
	 Included?

	Bioretention with underdrains
	 FORMCHECKBOX 


	Stormwater planter boxes with underdrains
	 FORMCHECKBOX 


	Rain gardens with underdrains
	 FORMCHECKBOX 


	Constructed wetlands
	 FORMCHECKBOX 


	Vegetated swales
	 FORMCHECKBOX 


	Vegetated filter strips
	 FORMCHECKBOX 


	Proprietary vegetated biotreatment systems 
	 FORMCHECKBOX 


	Wet extended detention basin
	 FORMCHECKBOX 


	Dry extended detention basins
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



Show calculations below to demonstrate if the LID Design Storm Capture Volume can be met with infiltration, evapotranspiration, rainwater harvesting and/or biotreatment BMPs.  If not, document how much can be met with either infiltration BMPs, evapotranspiration, rainwater harvesting BMPs, or a combination, and document why it is not feasible to meet the full volume with these BMP categories.
	


IV.3.5
Hydromodification Control BMPs

Describe hydromodification control BMPs. See Section 5 of the Technical Guidance Document (TGD).  Include sections for selection, suitability, sizing, and infeasibility, as applicable. Detail compliance with Prior Conditions of Approval (if applicable).
	Hydromodification Control BMPs

	BMP Name
	BMP Description

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     


IV.3.6
Regional/Sub-Regional LID BMPs 

Describe regional/sub-regional LID BMPs in which the project will participate. Refer to Section 7.II-2.4.3.2 of the Model WQMP.
	Regional/Sub-Regional LID BMPs

	


IV.3.7
Treatment Control BMPs

Treatment control BMPs can only be considered if the project conformance analysis indicates that it is not feasible to retain the full design capture volume with LID BMPs. Describe treatment control BMPs including sections for selection, sizing, and infeasibility, as applicable. 

	Treatment Control BMPs

	BMP Name
	BMP Description

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     


IV.3.8
Non-structural Source Control BMPs

Fill out non-structural source control check box forms or provide a brief narrative explaining if non-structural source controls were not used.

	Non-Structural Source Control BMPs

	Identifier
	Name
	Check One
	If not applicable, state brief reason

	
	
	Included
	Not Applicable
	

	N1
	Education for Property Owners, Tenants and Occupants
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N2
	Activity Restrictions
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N3
	Common Area Landscape Management
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N4
	BMP Maintenance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N5
	Title 22 CCR Compliance (How development will comply)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N6
	Local Industrial Permit Compliance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N7
	Spill Contingency Plan
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N8
	Underground Storage Tank Compliance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N9
	Hazardous Materials Disclosure Compliance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N10
	Uniform Fire Code Implementation
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N11
	Common Area Litter Control
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N12
	Employee Training
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N13
	Housekeeping of Loading Docks
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N14
	Common Area Catch Basin Inspection
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N15
	Street Sweeping Private Streets and Parking Lots
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N16
	Retail Gasoline Outlets
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     


IV.3.9
Structural Source Control BMPs
Fill out structural source control check box forms or provide a brief narrative explaining if structural source controls were not used.

	Structural Source Control BMPs

	Identifier
	Name
	Check One
	If not applicable, state brief reason

	
	
	Included
	Not Applicable
	

	S1
	Provide storm drain system stenciling and signage
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S2
	Design and construct outdoor material storage areas to reduce pollution introduction
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S3
	Design and construct trash and waste storage areas to reduce pollution introduction
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S4
	Use efficient irrigation systems & landscape design, water conservation, smart controllers, and source control
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S5
	Protect slopes and channels and provide energy dissipation
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	
	Incorporate requirements applicable to individual priority project categories (from SDRWQCB NPDES Permit)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S6
	Dock areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S7
	Maintenance bays
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S8
	Vehicle wash areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S9
	Outdoor processing areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S10
	Equipment wash areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S11
	Fueling areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S12
	Hillside landscaping
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S13
	Wash water control for food preparation areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S14
	Community car wash racks
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     


IV.4 
Alternative Compliance Plan (If Applicable)

Describe an alternative compliance plan (if applicable). Include alternative compliance obligations (i.e., gallons, pounds) and describe proposed alternative compliance measures. Refer to Section 7.II 3.0 in the WQMP.
IV.4.1
Water Quality Credits

Determine if water quality credits are applicable for the project. Refer to Section 3.1 of the Model WQMP for description of credits and Appendix VI of the Technical Guidance Document (TGD) for calculation methods for applying water quality credits.
	Description of Proposed Project

	Project Types that Qualify for Water Quality Credits (Select all that apply):  

	 FORMCHECKBOX 
Redevelopment projects that reduce the overall impervious footprint of the project site.
	 FORMCHECKBOX 
Brownfield redevelopment, meaning redevelopment, expansion, or reuse of real property which may be complicated by the presence or potential presence of hazardous substances, pollutants or contaminants, and which have the potential to contribute to adverse ground or surface WQ if not redeveloped.
	 FORMCHECKBOX 
 Higher density development projects which include two distinct categories (credits can only be taken  for one category): those with more than seven units per acre of development (lower credit allowance); vertical density developments, for example, those with a Floor to Area Ratio (FAR) of 2 or those having more than 18 units per acre (greater credit allowance).

	 FORMCHECKBOX 
 Mixed use development, such as a combination of residential, commercial, industrial, office, institutional, or other land uses which incorporate design principles that can demonstrate environmental benefits that would not be realized through single use projects (e.g. reduced vehicle trip traffic with the potential to reduce sources of water or air pollution).
	 FORMCHECKBOX 
 Transit-oriented developments, such as a mixed use residential or commercial area designed to maximize access to public transportation; similar to above criterion, but where the development center is within one half mile of a mass transit center (e.g. bus, rail, light rail or commuter train station). Such projects would not be able to take credit for both categories, but may have greater credit assigned
	 FORMCHECKBOX 
 Redevelopment projects in an established historic district, historic preservation area, or similar significant city area including core City Center areas (to be defined through mapping).

	 FORMCHECKBOX 
Developments with dedication of undeveloped portions to parks, preservation areas and other pervious uses.
	 FORMCHECKBOX 
 Developments in a city center area.
	 FORMCHECKBOX 
 Developments in historic districts or historic preservation areas.
	 FORMCHECKBOX 
 Live-work developments, a variety of developments designed to support residential and vocational needs together – similar to criteria to mixed use development; would not be able to take credit for both categories.
	 FORMCHECKBOX 
In-fill projects, the conversion of empty lots and other underused spaces into more beneficially used spaces, such as residential or commercial areas.

	Calculation of Water Quality Credits

(if applicable)
	     


IV.4.2
Alternative Compliance Plan Information

Describe an alternative compliance plan (if applicable). Include alternative compliance obligations (i.e., gallons, pounds) and describe proposed alternative compliance measures. Refer to Section 7.II 3.0 in the Model WQMP.
	


Section V
Inspection/Maintenance Responsibility for BMPs

Fill out information in table below. Prepare and attach an Operation and Maintenance Plan.  Identify the funding mechanism through which BMPs will be maintained. Inspection and maintenance records must be kept for a minimum of five years for inspection by the regulatory agencies. Refer to Section 7.II 4.0 in the Model WQMP.
	BMP Inspection/Maintenance

	BMP
	Reponsible

Party(s)
	Inspection/ Maintenance

Activities Required
	Minimum Frequency of Activities

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Section VI
BMP Exhibit (Site Plan)
VI.1
BMP Exhibit (Site Plan)
Include a BMP Exhibit (Site Plan), at a size no less than 24” by 36,” which includes the following minimum information:

· Insert in the title block (lower right hand corner) of BMP Exhibit: the WQMP Number (assigned by staff) and the grading/building or Planning Application permit numbers 
· Project location (address, tract/lot number(s), etc.)
· Site boundary

· Land uses and land covers, as applicable

· Suitability/feasibility constraints

· Structural BMP locations

· Drainage delineations and flow information
· Delineate the area being treated by each structural BMP

· GIS coordinates for LID and Treatment Control BMPs

· Drainage connections

· BMP details
· Preparer name and stamp

Please do not include any areas outside of the project area or any information not related to drainage or water quality.  The approved BMP Exhibit (Site Plan) shall be submitted as a plan sheet on all grading and building plan sets submitted for plan check review and approval.  The BMP Exhibit shall be at the same size as the rest of the plan sheets in the submittal and shall have an approval stamp and signature prior to plan check submittal.

VI.2
Submittal and Recordation of Water Quality Management Plan
Following approval of the Final Project-Specific WQMP, three copies of the approved WQMP (including BMP Exhibit, Operations and Maintenance (O&M) Plan, and Appendices) shall be submitted.  In addition, these documents shall be submitted in a PDF format.

Each approved WQMP (including BMP Exhibit, Operations and Maintenance (O&M) Plan, and Appendices) shall be recorded in the Orange County Clerk-Recorder’s Office, prior to close-out of grading and/or building permit.  Educational Materials are not required to be included.
Section VII
Educational Materials

Refer to the Orange County Stormwater Program (ocwatersheds.com) for a library of materials available.  Please only attach the educational materials specifically applicable to this project.  Other materials specific to the project may be included as well and must be attached.
	Education Materials

	Residential Material

(http://www.ocwatersheds.com)
	Check If
Applicable
	Business Material

(http://www.ocwatersheds.com)
	Check If
Applicable

	The Ocean Begins at Your Front Door
	 FORMCHECKBOX 

	Tips for the Automotive Industry
	 FORMCHECKBOX 


	Tips for Car Wash Fund-raisers
	 FORMCHECKBOX 

	Tips for Using Concrete and Mortar
	 FORMCHECKBOX 


	Tips for the Home Mechanic
	 FORMCHECKBOX 

	Tips for the Food Service Industry
	 FORMCHECKBOX 


	Homeowners Guide for Sustainable Water Use
	 FORMCHECKBOX 

	Proper Maintenance Practices for Your Business
	 FORMCHECKBOX 


	Household Tips
	 FORMCHECKBOX 

	Other Material
	Check If
Attached

	Proper Disposal of Household Hazardous Waste
	 FORMCHECKBOX 

	
	

	Recycle at Your Local Used Oil Collection Center (North County)
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Recycle at Your Local Used Oil Collection Center (Central County)
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Recycle at Your Local Used Oil Collection Center (South County)
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Maintaining a Septic Tank System
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Responsible Pest Control
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Sewer Spill
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for the Home Improvement Projects
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Horse Care
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Landscaping and Gardening
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Pet Care
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Pool Maintenance
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Residential Pool, Landscape and Hardscape Drains
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Projects Using Paint
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 



INSERT OWNER/DEVELOPER NAME 
Owner’s Certification
North OC Priority WQMP Template August 17 2011

Page ii

